[image: image1.png]


[image: image10.png]


Primary Lithium Battery
ER14250
3.6V Li/SOCL2 System Battery Size 1/2AA, High-energy Battery

[image: image11.png]



Advantages:
●   stable high VOP and Capacitance
● High Energy Density and stable current
● Wide working temperature range(-55℃~+85℃)
● Lower Self discharge rate(EVG annual rate below under +20℃ surroundings)
● Excellent environment application features
● Stainless steel shells(Low magnetism and environment erosion resistance)
Features：
●  Positive poles with independent proprietary technology
●  Stainess steel-Glass hermetic package
●  Non combustible electrolyte
●  High short circuit safety
●  Meet the technical requirements of IEC60086.4:2014
● Passed UL component testing certification（MH45919）
●Comply with RoHS environmental requirements ，easy to be recycled.
Main application
Utility meters
Alarms and safety equipment
Memory storage backup devices
RFID
Automotive electronics
Real time clocks
Marine surveying equipment Oil production equipment
Warning：Do not charge,short circuit,heat over 100℃ 、 breakdown 、put into water、or weld directly on the surface of the shells. If you do like that, explosion, burning or Acid leakage inside the battery will be caused.
[image: image2.png]



Primary Lithium Battery
ER14250T
3.6V Li/SOCL2 System Battery Size 1/2AA, High-energy Battery

[image: image3.png]



[image: image4.jpg]- ©4.3mm Max

©14.5mm Max




Size unit:mm（ unmarked tolerance,base on the standard of GB1804-m） If extreme connection mold needed, we can make to order. Pls contact
Manufacture 
Warning
● No short circuit
● No charge
● No puncturing
● No pressing
● Be sure to connect anode and cathode with the equipment correctly.
● No disassembling
● No burning
● No using old and new batteries simultaneously
● No heating over 100℃
● No welding batteries directly
● No transforming or modifying
Notice：we has the rights to information covered by changes to this documentation without notice first. Any specifications involved in    this documentation is only for your reference. Only by written
confirmation between supply and demand parties can the content in this file be used as valid information of the contract.


1.Typical discharge curve at +25℃（ Median）
[image: image5.png]16 106 1006 10000 100000

BE(mAR)




2.Voltage curve under different current and tempreture（Stable discharge process
[image: image6.jpg]iy
=

iy

5=

2=(T)




3.Capacity curve under different tempreture and current (cutoff voltage 2.0V)
[image: image7.jpg]o0





4.Storage Character
[image: image8.jpg]HE W

OB 2 1. OmA W|Bx. +38TC

@ oo s 200 x5 l| g
RIS G 25T F AR 10 4>

"o

50 600 Y0500
oW ()





[image: image9.png]









Electrical Performance





(Typical data from those being stored for or within 12 months under 25±5℃ surroundings)


Normal Capacity：                                             1.2Ah


（The capacity is tested under the condition of 1.0mA ，+25℃ and cutoff voltage 2.0V.Battery capacity will change with the change of discharge current,ambient temperature and cutoff voltage.）








Open circuit voltage  Typical data at+25℃ :�
3.67V�
�
Nominal voltage（at +25℃with load 0. 1mA）：�
3.60V�
�
Maximum continuous discharge current                                                                                    40mA


（If you need higher current than that of 50% normal capacity at +25℃ and 2.0V cutoff voltage, pls contact manufacture     )�
�






Maximum pulse capacity current  �50mA


(At+25℃, An unused battery begin to discharge with 10μA base current, and during the process, a pulse of 50mA/0. 1s will be discharged every two minutes,when the voltage reading will be higher than 3.0v. The voltage reading will change with the change of the pulse characters,temperature and store conditions. If under hard conditions, we suggest using LICC or SC together with batteries. Details pls contact manufacture  )。








Storage（ Suggestion）                                                                        +30℃  at most


(If you have higher requirements or harsh terms, pls contact XLEPCELL)�
�
Operating temperature range                                                -55℃-+85℃


(If exceeded, capacity will decrease, voltage reading be too lower and Initial pulse voltage reading be relatively low. )








Diameter（Max）                                                             14.5mm�
�
Height（Max）�
25.5mm�
�
Typical weight�
10 g�
�
Lithium metal content�
about 0.31g�
�






Physical Performance














